## Main
Exterior Linear RGBW ROM Cost Comparison (Template v3)
Project | USPGFD |  | Date | 2025-12-18
Known Budget / Allowance ($) | 1000000
Default Building Count | 1
Default Total Linear Feet (LF) | 1000
Option | Tag | Manufacturer | Series / Cat # | Sales Rep | Driver Type | Application / Location | Output Type | Pricing Basis | DN $/LF | DN $/4ft | Bldg Cnt (opt) | Total LF (opt) | Fixture Accessories Allowance % | Product Markup Divisor | Fixture Total (marked up) | Control Ecosystem | Control Level | Protocol | Control Zone Size (LF per zone) |  | Max Run (LF) per Power Feed | Zones (est.) | Channels/Zone (default) | DMX Channels (est.) | DMX Universes (est.) | Universes Override | Universes Used | Controller Tier | Controller Qty | Controller Unit $ | Gateway Qty | Gateway Unit $ | Enclosure Qty | Enclosure Unit $ | Power/Driver Pack Qty | Pack Unit $ | Switch Qty | Switch Unit $ | DMX Splitter Qty | Splitter Unit $ | Major Controls Total | Controls Misc Allow % | Controls Cabling $/LF | All Controls Equip Total | Comm Hours | Comm Rate $/hr | Commissioning Total | Est Padding % | All-in Total (padded) | All-in $/LF | Delta vs Budget | Rank | Fixture (chart) | Controls (padded chart) | Comm (padded chart)
1 | XL1 - all pixel ctrl | GVA | HIGHLIGHTER | MZ | Integral | GARAGE FAÇADE | RGBW | $/LF | 350 | 1400 |  |  | 12% | 0.8 | 490000 | GVA ecosystem | 4 | eDMX | 1LF | 50 | 300 | 1000 | 4 | 4000 | 8 |  | 8 | LARGE | 1 | 41640 | 2 | 1250 | 0 | 900 | 0 | 750 | 1 | 650 | 0 | 600 | 44790 | 25% | 10 | 65987.5 | 184 | 175 | 32200 | 0% | 588187.5 | 588.1875 | -411812.5 | #NAME? | 490000 | 65987.5 | 32200
2 | XL2 - all pixel ctrl | LUMINII | ILIGHT | CSLA | Remote | GARAGE FAÇADE | RGBW | $/LF | 200 | 800 |  |  | 12% | 0.8 | 280000 | Pharos | 4 | eDMX | 1LF | 50 | 17 | 1000 | 4 | 4000 | 8 |  | 8 | LARGE | 1 | 41640 | 2 | 1250 | 167 | 900 | 58.8235 | 750 | 1 | 650 | 0 | 600 | 239207.6471 | 25% | 10 | 309009.5588 | 184 | 175 | 32200 | 0% | 621209.5588 | 621.2096 | -378790.4412 | #NAME? | 280000 | 309009.5588 | 32200
3 |  |  |  |  | Remote | [7 empty] | 12% | 0.8 | [5 empty] | 50 | [8 empty] | 1 | [16 empty] | 175 |  | 0%
4 |  |  |  |  | Remote | [7 empty] | 12% | 0.8 | [5 empty] | 50 | [8 empty] | 1 | [16 empty] | 175 |  | 0%
5 |  |  |  |  | Remote | [7 empty] | 12% | 0.8 | [5 empty] | 50 | [8 empty] | 1 | [16 empty] | 175 |  | 0%

## Assumptions
Output Type | Default Channels/Zone | Control Level | Default Misc Allow % | Default Cabling $/LF | Comm Base Hrs | Comm Hrs/Zone | Controller Tier | Default Unit Cost | Item Key | Default Unit Cost | Control Ecosystem | Default Level | Default Protocol | Control Zone Size Options | Driver Type Options
Static White | 1 | 0 | 0% | 0 | 0 | 0.16 | SMALL | 1200 | GATEWAY_EDMX_4PORT | 1250 | nLight | 1 | 0-10V/DALI | Max Run Length | Integral
Tunable White | 2 | 1 | 10% | 1.5 | 4 | 0.16 | LARGE | 41640 | NEMA_ENCLOSURE_MED | 900 | Pharos | 2 | DMX | 4LF | Remote
RGB | 3 | 2 | 15% | 4 | 8 | 0.16 |  |  | POWER_DRIVER_PACK | 750 | ETC | 2 | DMX | 1LF
RGBW | 4 | 3 | 20% | 6 | 16 | 0.16 |  |  | NETWORK_SWITCH | 650 | GVA ecosystem | 2 | DMX | 0.5LF
|  | 4 | 25% | 10 | 24 | 0.16 |  |  | DMX_SPLITTER_PRO | 600 | Other / TBD | 2 | DMX | 0.25LF